## Sheet1
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 1
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | JAL-B
Pinger code |  | 70
Strobe | Serial number | 26742
Beacon | Serial number | 9697
| Frequency | Channel | 82
|  | 157.125 | MHz
Setup
Instrument on | Julian Day | 180
| Date | 29-Jun-01
| Time | 15.44 | UTC
Clock offset | (1.002885) | -2.885 | ms
Start recording | Date | 01-Jul-01 | -182
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 17:00 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 04-Jul-01
| Time | 00:26 | UTC
Position | Latitude | 41,509495 | N
| Longitude | 57,44408 | W
| Water depth | 4945 | m
Retrieval
Retrieval | Julian Day | 185
| Date | 04-Jul-01
| Time release | 10:12 | UTC
| Time off seafloor | 10:21 | UTC
| Time at surface | 11:39 | UTC
| Time on deck | 12:16 | UTC
Position | Latitude | 41,509990 | N
| Longitude | 57,483871 | W
| Water depth | 4945 | m
Ascent rate |  | 1.057 | m/s
Clock check | Julian Day | 185
| Date | 04-Jul-01
| Time | 12:28 | UTC
Clock drift | (0.989981) | +12.904 | ms
Datafiles |  | 000 - 149
Comments | Screenclock(Regulus) is an hour fast.
(Corrected the time in the table)
Clock corrected before next deployment.
Appers to be recovered 2 Nm west of deployment position.

## Sheet3
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 3
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-J
Pinger code |  | 90
Strobe | Serial number | B1959
Beacon | Serial number | B1954
| Frequency | Channel | A
|  | 154.585 | MHz
Setup
Instrument on | Julian Day | 180
| Date | 29-Jun-01
| Time | 18:05 | UTC
Clock offset | (1.003178) | -3.178 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 18:00 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 02:15 | UTC
Position | Latitude | 41,856112 | N
| Longitude | 57,594368 | W
| Water depth | 4806 | m
Retrieval
Retrieval | Julian Day | 185
| Date | 04-Jul-01
| Time release | 15:46 | UTC
| Time off seafloor | 15:53 | UTC
| Time at surface | 17:14 | UTC
| Time on deck | 17:25 | UTC
Position | Latitude | 41,856100 | N
| Longitude | 57,7601860 | W
| Water depth | 4806 | m
Ascent rate |  | 0.989 | m/s
Clock check | Julian Day | 185
| Date | 04-Jul-01
| Time | 17:32 | UTC
Clock drift | (0.989352) | +13.826 | ms
Datafiles |  | 000 - 158
Comments

## Sheet4
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 4
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-H
Pinger code |  | 70
Strobe | Serial number
Beacon | Serial number | J10-044
| Frequency | Channel | 77
|  | 156.875 | MHz
Setup
Instrument on | Julian Day | 180
| Date | 29-Jun-01
| Time | 16:00 | UTC
Clock offset | (0.999034) | +0.966 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 18:30 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 03:18 | UTC
Position | Latitude | 42,032647 | N
| Longitude | 57,672802 | W
| Water depth | 4763 | m
Retrieval
Retrieval | Julian Day | 185
| Date | 04-Jul-01
| Time release | 18:13 | UTC
| Time off seafloor | 18:22 | UTC
| Time at surface | 19:42 | UTC
| Time on deck | 19:49 | UTC
Position | Latitude | 42,037826 | N
| Longitude | 57,666372 | W
| Water depth | 4763 | m
Ascent rate |  | 0.992 | m/s
Clock check | Julian Day | 185
| Date | 04-Jul-01
| Time | 19:58 | UTC
Clock drift | (1.004607) | -5.573 | ms
Datafiles |  | 000 - 163
Comments

## Sheet5
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 5
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | GSC-8
Pinger code |  | 00
Strobe | Serial number | M12-092
Beacon | Serial number | 9694
| Frequency | Channel | 70
|  | 156.525 | MHz
Setup
Instrument on | Julian Day | 180
| Date | 29-Jun-01
| Time | 23:20 | UTC
Clock offset | (1.000463) | -0.463 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 19:00 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 04:48 | UTC
Position | Latitude | 42,205718 | N
| Longitude | 57,749362 | W
| Water depth | 4689 | m
Retrieval
Retrieval | Julian Day | 185
| Date | 04-Jul-01
| Time release | 20:40 | UTC
| Time off seafloor | 20:48 | UTC
| Time at surface | 22:07 | UTC
| Time on deck | 22:22 | UTC
Position | Latitude | 42,206521 | N
| Longitude | 57,737805 | W
| Water depth | 4689 | m
Ascent rate |  | 1.011 | m/s
Clock check | Julian Day | 185
| Date | 04-Jul-01
| Time | 22:57 | UTC
Clock drift | (1.002170) | -1.707 | ms
Datafiles |  | 000 - 167
Comments

## Sheet2
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 2
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-G
Pinger code |  | 80
Strobe | Serial number | B1960
Beacon | Serial number | B1957
| Frequency | Channel | B
|  | 159.480 | MHz
Setup
Instrument on | Julian Day | 180
| Date | 29-Jun-01
| Time | 17:50 | UTC
Clock offset | (1.000006) | -0.006 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 17:30 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 01:23 | UTC
Position | Latitude | 41,683883 | N
| Longitude | 57,519107 | W
| Water depth | 4870 | m
Retrieval
Retrieval | Julian Day | 185
| Date | 04-Jul-01
| Time release | 13:01 | UTC
| Time off seafloor | 13:08 | UTC
| Time at surface | 14:32 | UTC
| Time on deck | 14:53 | UTC
Position | Latitude | 41,688984 | N
| Longitude | 57,543475 | W
| Water depth | 4870 | m
Ascent rate |  | 0.966 | m/s
Clock check | Julian Day | 185
| Date | 04-Jul-01
| Time | 15:04 | UTC
Clock drift | (1.003535) | -3.529 | ms
Datafiles |  | 000 - 154
Comments

## Sheet6
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 6
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | GSC-6
Pinger code |  | 60
Strobe | Serial number | 19675
Beacon | Serial number | M12-090
| Frequency | Channel | 82
|  | 157.125 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 01:01 | UTC
Clock offset | (0.997905) | +2.095 | ms
Start recording | Date | 01-Jul-01
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 19:30 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 06:08 | UTC
Position | Latitude | 42,378808 | N
| Longitude | 57,826680 | W
| Water depth | 4571 | m
Retrieval
Retrieval | Julian Day | 185
| Date | 04-Jul-01
| Time release | 23:15 | UTC
| Time off seafloor | 23:24 | UTC
| Time at surface | 00:43 | UTC
| Time on deck | 01:01 | UTC
Position | Latitude | 42,379664 | N
| Longitude | 57,818627 | W
| Water depth | 4571 | m
Ascent rate |  | 0.964 | m/s
Clock check | Julian Day | 186
| Date | 05-Jul-01
| Time | 01:12 | UTC
Clock drift | (0.978435) | +19.470 | ms
Datafiles |  | 000 - 173
Comments

## Sheet7
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 7
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | GSC-5
Pinger code |  | 30
Strobe | Serial number | 26743
Beacon | Serial number | 9717
| Frequency | Channel | 74
|  | 156.725 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 03:28 | UTC
Clock offset | (1.002792) | -2.792 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 20:00 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jul-01
| Time | 07:24 | UTC
Position | Latitude | 42,547013 | N
| Longitude | 57,902185 | W
| Water depth | 4427 | m
Retrieval
Retrieval | Julian Day | 186
| Date | 05-Jul-01
| Time release | 01:56 | UTC
| Time off seafloor | 02:03 | UTC
| Time at surface | 03:18 | UTC
| Time on deck | 03:32 | UTC
Position | Latitude | 42,546316 | N
| Longitude | 57,899134 | W
| Water depth | 4427 | m
Ascent rate |  | 0.984 | m/s
Clock check | Julian Day | 186
| Date | 05-Jul-01
| Time | 03:53 | UTC
Clock drift | (0.941288) | +61.504 | ms
Datafiles |  | 000 - 178
Comments

## Sheet8
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 8
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-K
Pinger code |  | 50
Strobe | Serial number | M12-093
Beacon | Serial number | 1953
| Frequency | Channel | A
|  | 154.585 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 00:09 | UTC
Clock offset | (0.995597) | +4.403 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 20:30 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 08:42 | UTC
Position | Latitude | 42,720908 | N
| Longitude | 57,980448 | W
| Water depth | 4293 | m
Retrieval
Retrieval | Julian Day | 186
| Date | 05-Jul-01
| Time release | 04:18 | UTC
| Time off seafloor | 04:27 | UTC
| Time at surface | 05:38 | UTC
| Time on deck | 05:55 | UTC
Position | Latitude | 42,721032 | N
| Longitude | 57,980555 | W
| Water depth | 4293 | m
Ascent rate |  | 0.992 | m/s
Clock check | Julian Day | 186
| Date | 05-Jul-01
| Time | 06:04 | UTC
Clock drift | (0.990631) | +4.966 | ms
Datafiles |  | 000 - 182
Comments | Problem in pinger at first.
Pinger fixed before put into water.

## Sheet9
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 9
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-I
Pinger code |  | 00
Strobe | Serial number | B1963
Beacon | Serial number | 9676
| Frequency | Channel | 82
|  | 157.125 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 00:38 | UTC
Clock offset | (0.996442) | +3.558 | ms
Start recording | Date | 01-Jul-01
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 21:00 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 09:52 | UTC
Position | Latitude | 42,894570 | N
| Longitude | 58,059378 | W
| Water depth | 4055 | m
Retrieval
Retrieval | Julian Day | 186
| Date | 05-Jul-01
| Time release | 06:42 | UTC
| Time off seafloor | 06:50 | UTC
| Time at surface | 07:57 | UTC
| Time on deck | 08:09 | UTC
Position | Latitude | 42,893138 | N
| Longitude | 58,061156 | W
| Water depth | 4055 | m
Ascent rate |  | 1.009 | m/s
Clock check | Julian Day | 186
| Date | 05-Jul-01
| Time | 08:17 | UTC
Clock drift | (0.987916) | +8.526 | ms
Datafiles |  | 000 - 187
Comments

## Sheet10
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 10
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-E
Pinger code |  | 80
Strobe | Serial number | M12-094
Beacon | Serial number | M09-008
| Frequency | Channel | 74
|  | 156.725 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 00:51 | UTC
Clock offset | (0.998630) | +1.370 | ms
Start recording | Date | 01-Jul-01
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 21:30 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 10:48 | UTC
Position | Latitude | 43,065417 | N
| Longitude | 58,136322 | W
| Water depth | 3798 | m
Retrieval
Retrieval | Julian Day | 186
| Date | 05-Jul-01
| Time release | 08:59 | UTC
| Time off seafloor | 09:05 | UTC
| Time at surface | 10:08 | UTC
| Time on deck | 10:18 | UTC
Position | Latitude | 43,062937 | N
| Longitude | 58,145923 | W
| Water depth | 3798 | m
Ascent rate |  | 1.005 | m/s
Clock check | Julian Day | 186
| Date | 05-Jul-01
| Time | 10:26 | UTC
Clock drift | (0.998291) | +0.339 | ms
Datafiles |  | 000 - 190
Comments

## Sheet11
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 11
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-F
Pinger code |  | 20
Strobe | Serial number | 26744
Beacon | Serial number | 19365
| Frequency | Channel | 68
|  | 156.425 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 01:06 | UTC
Clock offset | (0.996590) | +3.410 | ms
Start recording | Date | 01-Jul-01
| Time | 06:00 | UTC
Time release | Date | 01-Jul-01
| Time | 22:00 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 12:08 | UTC
Position | Latitude | 43,320152 | N
| Longitude | 58,252660 | W
| Water depth | 3609 | m
Retrieval
Retrieval | Julian Day | 186
| Date | 05-Jul-01
| Time release | 11:32 | UTC
| Time off seafloor | 11:39 | UTC
| Time at surface | 12:39 | UTC
| Time on deck | 12:58 | UTC
Position | Latitude | 43,314494 | N
| Longitude | 58,255569 | W
| Water depth | 3622 | m
Ascent rate |  |  | m/s
Clock check | Julian Day | 186
| Date | 05-Jul-01
| Time | 13:08 | UTC
Clock drift | (1.048384) | -51.794 | ms
Datafiles |  | 000 - 196
Comments | Could not get good water depth signal on sounder,
Will have to check on OBS retrival.
Water depth at deployment is from seismic shooting traverse
Water depth at retrival is measured at the position at the retrival.
3622 m is used for calculating ascent rate.

## Sheet12
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 12
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | GSC-4
Pinger code |  | 40
Strobe | Serial number | 26447
Beacon | Serial number | 19364
| Frequency | Channel | 69
|  | 156.475 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 04:30 | UTC
Clock offset | (1.001006) | -1.006 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 22:30 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 13:33 | UTC
Position | Latitude | 43,549027 | N
| Longitude | 58,361490 | W
| Water depth | 3049 | m
Retrieval
Retrieval | Julian Day | 186
| Date | 05-Jul-01
| Time release | 14:33 | UTC
| Time off seafloor | 14:40 | UTC
| Time at surface | 15:33 | UTC
| Time on deck | 15:57 | UTC
Position | Latitude | 43,549010 | N
| Longitude | 58,361540 | W
| Water depth | 3049 | m
Ascent rate |  | 0.959 | m/s
Clock check | Julian Day | 186
| Date | 05-Jul-01
| Time | 16:09 | UTC
Clock drift | (1.016208) | -15.202 | ms
Datafiles |  | 000 - 202
Comments | Check water depth on recovery.

## Sheet13
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 13
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | GSC-3
Pinger code |  | 30
Strobe | Serial number | 26436
Beacon | Serial number | 9718
| Frequency | Channel | 77
|  | 156.875 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 05:41 | UTC
Clock offset | (1.002899) | -2.899 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 23:00 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 14:39 | UTC
Position | Latitude | 43,746980 | N
| Longitude | 58,452860 | W
| Water depth | 2254 | m
Retrieval
Retrieval | Julian Day | 186
| Date | 05-Jul-01
| Time release | 16:54 | UTC
| Time off seafloor | 17:02 | UTC
| Time at surface | 17:39 | UTC
| Time on deck | 17:53 | UTC
Position | Latitude | 43,748235 | N
| Longitude | 58,453849 | W
| Water depth | 2254 | m
Ascent rate |  | 1.015 | m/s
Clock check | Julian Day | 186
| Date | 05-Jul-01
| Time | 18:25 | UTC
Clock drift | 642098 | -28.640 | sec | Ticks
Datafiles |  | 000 - 205 |  | -3580
Comments | Clock jump (during recovery?, deployment?)
Same problem like durring deployment on Line 2
Retrival position estimated from screen of
navigation program.

## Sheet14
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 14
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | GSC-2
Pinger code |  | 20
Strobe | Serial number | 26445
Beacon | Serial number | 9664
| Frequency | Channel | 71
|  | 156.575 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 07:38 | UTC
Clock offset | (1.000992) | -0.992 | ms
Start recording | Date | 01-Jul-01
| Time | 06:00 | UTC
Time release | Date | 10-Jul-01
| Time | 23:30 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 15:57 | UTC
Position | Latitude | 43,946825 | N
| Longitude | 58,547702 | W
| Water depth | 787 | m
Retrieval
Retrieval | Julian Day | 186
| Date | 05-Jul-01
| Time release | 19:25 | UTC
| Time off seafloor | 19:31 | UTC
| Time at surface | 19:46 | UTC
| Time on deck | 20:07 | UTC
Position | Latitude | 43,949805 | N
| Longitude | 58,552513 | W
| Water depth | 787 | m
Ascent rate |  | 0.874 | m/s
Clock check | Julian Day | 186
| Date | 05-Jul-01
| Time | 20:21 | UTC
Clock drift | (1.014760) | -13.768 | ms
Datafiles |  | 000 - 210
Comments

## Sheet15
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 15
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-L
Pinger code |  | 30
Strobe | Serial number | 19676
Beacon | Serial number | 9752
| Frequency | Channel | 71
|  | 156.575 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 11:15 | UTC
Clock offset | (1.002700) | -2.700 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 11-Jul-01
| Time | 00:00 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 17:28 | UTC
Position | Latitude | 44,260627 | N
| Longitude | 58,696672 | W
| Water depth | 59 | m
Retrieval
Retrieval | Julian Day | 186
| Date | 05-Jul-01
| Time release | 21:24 | UTC
| Time off seafloor | 21:32 | UTC
| Time at surface | 21:35 | UTC
| Time on deck | 21:43 | UTC
Position | Latitude | 44,264314 | N
| Longitude | 58,696198 | W
| Water depth | 59 | m
Ascent rate |  | 0.328 | m/s
Clock check | Julian Day | 186
| Date | 05-Jul-01
| Time | 21:57 | UTC
Clock drift | (1.006336) | -3.636 | ms
Datafiles |  | 000 - 212
Comments

## Sheet16
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 16
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-C
Pinger code |  | 90
Strobe | Serial number | 26481
Beacon | Serial number | 9682
| Frequency | Channel | 72
|  | 156.625 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 12:18 | UTC
Clock offset | (1.002063) | -2.063 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 11-Jul-01
| Time | 00:30 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 18:45 | UTC
Position | Latitude | 44,513068 | N
| Longitude | 58,817940 | W
| Water depth | 59 | m
Retrieval
Retrieval | Julian Day | 186
| Date | 05-Jul-01
| Time release | 22:46 | UTC
| Time off seafloor | 22:53 | UTC
| Time at surface | 22:54 | UTC
| Time on deck | 23:32 | UTC
Position | Latitude | 44,525809 | N
| Longitude | 58,808191 | W
| Water depth | 59 | m
Ascent rate |  | 0.983 | m/s
Clock check | Julian Day | 186
| Date | 05-Jul-01
| Time | 23:40 | UTC
Clock drift | (1.008715) | -6.652 | ms
Datafiles |  | 000 - 216
Comments

## Sheet17
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 17
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-D
Pinger code |  | 40
Strobe | Serial number | B1962
Beacon | Serial number | B1958
| Frequency | Channel | B
|  | 159.480 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 12:28 | UTC
Clock offset | (0.995590) | +4.410 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 11-Jul-01
| Time | 01:00 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 20:04 | UTC
Position | Latitude | 44,764950 | N
| Longitude | 58,939903 | W
| Water depth | 247 | m
Retrieval
Retrieval | Julian Day | 187
| Date | 06-Jul-01
| Time release | 00:34 | UTC
| Time off seafloor | 00:41 | UTC
| Time at surface | 00:45 | UTC
| Time on deck | 01:19 | UTC
Position | Latitude | 44,768330 | N
| Longitude | 58,928208 | W
| Water depth | 247 | m
Ascent rate |  | 1.029 | m/s
Clock check | Julian Day | 187
| Date | 06-Jul-01
| Time | 01:32 | UTC
Clock drift | (0.995118) | +0.472 | ms
Datafiles |  | 000 - 218
Comments

## Sheet18
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 18
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-M
Pinger code |  | 00
Strobe | Serial number | M12-091
Beacon | Serial number | 9716
| Frequency | Channel | 73
|  | 156.675 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 12:39 | UTC
Clock offset | (1.003409) | -3.409 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 11-Jul-01
| Time | 01:30 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 21:45 | UTC
Position | Latitude | 45,104640 | N
| Longitude | 59,105578 | W
| Water depth | 75 | m
Retrieval
Retrieval | Julian Day | 187
| Date | 06-Jul-01
| Time release | 02:47 | UTC
| Time off seafloor | 05:57 | UTC
| Time at surface | 02:58 | UTC
| Time on deck | 03:24 | UTC
Position | Latitude | 45,103496 | N
| Longitude | 59,098041 | W
| Water depth | 75 | m
Ascent rate |  | 0.800 | m/s
Clock check | Julian Day | 187
| Date | 06-Jul-01
| Time | 03:35 | UTC
Clock drift | (1.001999) | +1.410 | ms
Datafiles |  | 000 - 223
Comments

## Sheet19
OBS Drop sheet
Project |  | Scotian Margin
Line |  | 1
Station |  | 19
Dalhousie/GSC Ocean Bottom Seismometer
OBS instrument |  | DAL-N
Pinger code |  | 10
Strobe | Serial number | 26708
Beacon | Serial number | F11-065
| Frequency | Channel | 72
|  | 156.625 | MHz
Setup
Instrument on | Julian Day | 181
| Date | 30-Jun-01
| Time | 12:48 | UTC
Clock offset | (0.996997) | +3.003 | ms
Start recording | Date | 01-Jul-01 | (182)
| Time | 06:00 | UTC
Time release | Date | 11-Jul-01
| Time | 02:00 | UTC
Deployment
Deployment | Julian Day | 181
| Date | 30-Jun-01
| Time | 23:25 | UTC
Position | Latitude | 45,440677 | N
| Longitude | 59,273300 | W
| Water depth | 85 | m
Retrieval
Retrieval | Julian Day | 187
| Date | 06-Jul-01
| Time release | 05:00 | UTC
| Time off seafloor | 05:14 | UTC
| Time at surface | 05:15 | UTC
| Time on deck | 05:43 | UTC
Position | Latitude | 45,438647 | N
| Longitude | 59,268698 | W
| Water depth | 85 | m
Ascent rate |  | 1.417 | m/s
Clock check | Julian Day | 187
| Date | 06-Jul-01
| Time | 05:52 | UTC
Clock drift | (0.993589) | +3.408 | ms
Datafiles |  | 000 - 228
Comments | The echosounder is ~ 1 min. faster than the Regulus.